## Slide 1
Paul Weaving
Nurse Consultant Infection Prevention & Control
Clinical Risks Associated with Waterborne and Airborne Microorganisms
NHS Scotland Assurance Services

## Slide 2
Nursing ‘…ought to signify the proper use of fresh air, light, warmth, cleanliness, quiet, and the proper selection and administration of diet.’
Nightingale, 1860

## Slide 3
Water

## Slide 4
TL;DR: People in hospital can die following infection with waterborne microorganisms

## Slide 5
TL;DR: People in hospital can die following infection with waterborne microorganisms

## Slide 6
Legionella
Hospital-acquired Legionnaires' disease has been reported from many hospitals since the first identified outbreak in 1976
Potable water has been the environmental source for almost all reported hospital outbreaks
Micro-aspiration is the major mode of transmission in hospital-acquired Legionnaires' disease
Sabria, M & Yu, VL. (2002) Hospital-acquired legionellosis: solutions for a preventable infection. Lancet Infectious Disease 2 (6) 368-73

## Slide 7
Legionella
Water hygiene guidance for healthcare was almost entirely focused on legionella until 2013

## Slide 8
Pseudomonas in Belfast

## Slide 9
  The same strain of Pseudomonas aeruginosa was isolated from five out of six sensor taps in the main intensive care room
  As a result of the outbreak organisations throughout the NHS in the UK were instructed to make changes to water management systems:
    Remove flexible hoses
    Regular water testing in augmented care areas
Pseudomonas in Belfast

## Slide 10
New version of HTM 04-01 in 2016

## Slide 11
  A 2016 literature review* identified 73 papers describing healthcare outbreaks associated with a water reservoir.
  The most common pathogens were bacteria, including Legionella and other Gram –ve organisms such as Pseudomonas
  * Kanamori, H, Weber, DJ & Rutala, WA (2016) Healthcare Outbreaks Associated with a Water Reservoir and Infection Prevention Strategies. Healthcare Epidemiology 62 (11) 1423-35
Waterborne Outbreaks and Infections

## Slide 12
  Other pathogens included non-TB mycobacteria, fungi, protozoa and viruses
  Infections caused included bacteraemia, pneumonia, UTI, meningitis and wound infections
  Vulnerable groups are particularly at risk, including neonates, critically ill adults and people who are immunocompromised
Waterborne Outbreaks and Infections

## Slide 13
  Reservoirs identified included
    Faucet (tap) aerators
    Showers
    Toilets
    Dialysis water
    Ice & ice machines
    Water baths
    Flower vases
    Eyewash stations
    Dental units
    Cardiac surgery heater-cooler units
Waterborne Outbreaks and Infections

## Slide 14
Air

## Slide 15
  When we talk about airborne pathogens, we tend to think of infections that are spread by the airborne route
    Influenza
    Tuberculosis
    SARS
    COVID 19 (SARS CoV 2)
Risks from Airborne Microorganisms

## Slide 16
  However, microorganisms are small, and almost any microorganism can end up ‘in the air’ in some circumstances, for a greater or lesser period of time
    Staphylococci on skin scales shaken from bedclothes
    Fungal spores in dust generated by demolition or building work
    Pseudomonas or legionella in aerosols from water systems
Risks from Airborne Microorganisms

## Slide 17
  Hence, theoretically, almost any microorganism can be spread ‘through the air’
  Some will cause infections if they come into contact with a vulnerable site on a susceptible person
    E.g. Bacteria entering an open wound during surgery
Risks from Airborne Microorganisms

## Slide 18
  We try to control these risks, using a combination of
    Filtration to remove particles from the air
    Ventilation to regularly replace the air in a space with clean air
    Directed air flows to protect vulnerable people and sites
    Isolation
Controlling these Risks

## Slide 19
  The control measures used are determined by an assessment of the vulnerability of the patient and the potential impact of an infection
    E.g. A postoperative infection following orthopaedic implant surgery can be catastrophic, so orthopaedic surgery is carried out in ‘ultra clean’ operating theatres
Controlling these Risks

## Slide 20
  The actual effectiveness of any control measure, or combination of controls, is difficult to determine, so a precautionary principle is often applied, possibly at high cost or with detrimental effects on the patient
    E.g. prolonged isolation following bone marrow transplant
  Increasing the knowledge base to inform risk assessment would be helpful to clinicians!
Controlling these Risks

## Slide 21
Paul Weaving
Nurse Consultant Infection Prevention & Control
Thank you
NHS Scotland Assurance Services